## Slide 2
Data:
15 healthy cases
  5 cases of Type of Arch 1.
  5 cases of Type of Arch 2.
  5 cases of Type of Arch 3.
Pressure P.S. from CFD analyses.
Methods:
Apply the pipeline we developed to obtain the P.S. computational geometry of every Arch under study starting from CT images.
Divide each Arch in four zones (Zone 0 -1-2-3) according to “A geometric reappraisal of proximal landing zones for thoracic endovascular aortic repair according to aortic arch types”, by Marrocco-Trischitta, M. M., et al.
Goal:
Check the von Mises stress distribution in each zone.
For each zone, find a quantity that can summarize and be representative of the von Mises stress distribution.
Can we deduce that largest von Mises stress values can be found in landing zones with increased angulation? (i.e., Zone 3 of Type of Arch 2 and 3)

## Slide 3
TYPE OF ARCH 1
TYPE OF ARCH 2
TYPE OF ARCH 3
CASES

## Slide 4
CONSIDERED LANDING ZONES
TYPE OF ARCH 1
TYPE OF ARCH 2
TYPE OF ARCH 2
0
1
2
3

## Slide 5
VON MISES STRESS DISTRIBUTION PER TYPE OF ARCH 1
0
1
2
3
P1_T1
P2_T1
P3_T1
P4_T1
P5_T1

## Slide 6
P1_T2
P2_T2
P3_T2
P4_T2
P5_T2
VON MISES STRESS DISTRIBUTION PER TYPE OF ARCH 2

## Slide 7
VON MISES STRESS DISTRIBUTION PER TYPE OF ARCH 3
P1_T3
P2_T3
P3_T3
P4_T3
P5_T3

## Slide 8
Patient | ToA | PLZ | Min vM | Max vM
P1 | 1 | 0 | 0,0382 | 0,2668
P1 | 1 | 1 | 0,0598 | 0,2516
P1 | 1 | 2 | 0,0552 | 0,1697
P1 | 1 | 3 | 0,07 | 0,1991
P2 | 1 | 0 | 0,0432 | 0,2079
P2 | 1 | 1 | 0,0843 | 0,1676
P2 | 1 | 2 | 0,0879 | 0,1606
P2 | 1 | 3 | 0,0776 | 0,233
P3 | 1 | 0 | 0,0529 | 0,233
P3 | 1 | 1 | 0,0817 | 0,1513
P3 | 1 | 2 | 0,0828 | 0,1893
P3 | 1 | 3 | 0,0715 | 0,2008
P4 | 1 | 0 | 0,0501 | 0,2322
P4 | 1 | 1 | 0,0951 | 0,2024
P4 | 1 | 2 | 0,0789 | 0,2125
P4 | 1 | 3 | 0,0537 | 0,2561
P5 | 1 | 0 | 0,027 | 0,2413
P5 | 1 | 1 | 0,0619 | 0,1799
P5 | 1 | 2 | 0,0388 | 0,1815
P5 | 1 | 3 | 0,0626 | 0,2248
VON MISES STRESS DISTRIBUTION: SUMMARY
Max and min value of the von Mises stress for each patient and each zone
Patient | ToA | PLZ | Min vM | Max vM
P6 | 2 | 0 | 0,0488 | 0,2416
P6 | 2 | 1 | 0,0845 | 0,2361
P6 | 2 | 2 | 0,0589 | 0,2341
P6 | 2 | 3 | 0,0706 | 0,2584
P7 | 2 | 0 | 0,0394 | 0,1923
P7 | 2 | 1 | 0,0763 | 0,1728
P7 | 2 | 2 | 0,0596 | 0,219
P7 | 2 | 3 | 0,0454 | 0,2547
P8 | 2 | 0 | 0,0527 | 0,2209
P8 | 2 | 1 | 0,0905 | 0,1457
P8 | 2 | 2 | 0,0593 | 0,1456
P8 | 2 | 3 | 0,0819 | 0,2408
P9 | 2 | 0 | 0,0545 | 0,2253
P9 | 2 | 1 | 0,0365 | 0,1742
P9 | 2 | 2 | 0,072 | 0,1643
P9 | 2 | 3 | 0,0801 | 0,1876
P10 | 2 | 0 | 0,047 | 0,188
P10 | 2 | 1 | 0,067 | 0,232
P10 | 2 | 2 | 0,072 | 0,193
P10 | 2 | 3 | 0,054 | 0,202
Patient | ToA | PLZ | Min vM | Max vM
P11 | 3 | 0 | 0,0308 | 0,1563
P11 | 3 | 1 | 0,0549 | 0,162
P11 | 3 | 2 | 0,0398 | 0,1806
P11 | 3 | 3 | 0,0601 | 0,2684
P12 | 3 | 0 | 0,0517 | 0,1815
P12 | 3 | 1 | 0,0599 | 0,2013
P12 | 3 | 2 | 0,0749 | 0,1849
P12 | 3 | 3 | 0,0636 | 0,207
P13 | 3 | 0 | 0,0688 | 0,2229
P13 | 3 | 1 | 0,0798 | 0,2298
P13 | 3 | 2 | 0,0725 | 0,2428
P13 | 3 | 3 | 0,0828 | 0,2428
P14 | 3 | 0 | 0,0881 | 0,192
P14 | 3 | 1 | 0,0685 | 0,1866
P14 | 3 | 2 | 0,0891 | 0,1805
P14 | 3 | 3 | 0,0755 | 0,2133
P15 | 3 | 0 | 0,0669 | 0,1926
P15 | 3 | 1 | 0,0881 | 0,1887
P15 | 3 | 2 | 0,0807 | 0,1738
P15 | 3 | 3 | 0,0305 | 0,2081
ToA: | Type of Arch
PLZ: | Landing Zone
Min vM | Minimum value of the von Mises stress [MPa] for each PLZ
Max vM | Maximum value of the von Mises stress [MPa] for each PLZ

## Slide 9
 | T1 | T2 | T3
ZONE 0 | 0.2668 | 0.2416 | 0.1563
 | 0.2079 | 0.1923 | 0.1815
 | 0.2330 | 0.2209 | 0.2229
 | 0.2322 | 0.2253 | 0.1920
 | 0.2413 | 0.188 | 0.1926
Mean Values per type of arch | 0.2362 | 0.2136 | 0.1891
SD values per type of arch | 0.0212 | 0.0228 | 0.0240
ZONE 1 | 0.2516 | 0.2361 | 0.1620
 | 0.1676 | 0.1728 | 0.2013
 | 0.1513 | 0.1457 | 0.2298
 | 0.2024 | 0.1742 | 0.1866
 | 0.1799 | 0.232 | 0.1887
Mean Values per type of arch | 0.1906 | 0.1922 | 0.1937
SD values per type of arch | 0.0389 | 0.0399 | 0.0247
ZONE 2 | 0.1697 | 0.2341 | 0.1806
 | 0.1606 | 0.2190 | 0.1849
 | 0.1893 | 0.1456 | 0.2428
 | 0.2125 | 0.1643 | 0.1805
 | 0.1815 | 0.193 | 0.1738
Mean Values per type of arch | 0.1827 | 0.1912 | 0.1925
SD values per type of arch | 0.0199 | 0.0368 | 0.0284
ZONE 3 | 0.1991 | 0.2584 | 0.2684
 | 0.2330 | 0.2547 | 0.2070
 | 0.2008 | 0.2408 | 0.2428
 | 0.2561 | 0.1876 | 0.2133
 | 0.2248 | 0.202 | 0.2081
Mean Values per type of arch | 0.2228 | 0.2287 | 0.2279
SD values per type of arch | 0.0238 | 0.0320 | 0.0269
 | For each patient and for each type of arch, maximum value of the von Mises stress per zone
xxxxxxxx | For each patient, maximum value of the von Mises stress over all the four zones
 | For each zone, compute mean values of the von Mises stress per type of arch
 | For each zone, Max (von Mises Stress mean values per type of arch)